SPECIFICATION

Sections 07 90 00 / 07 95 00

(Formerly sections 05810 / 07102 / 07915)

Impact Damping Traffic Bearing Expansion Joint

AID Series – Aluminum

GID Series – Galvanized

SID Series – Stainless Steel

# PART 1 – GENERAL

  - Work Included

- The work shall consist of furnishing and installing an impact damping expansion joint system that can facilitate heavy loading (AASHTO HS-20) for wide expansion joint openings with recessed concrete blockouts. Concrete blockouts must be properly formed, finished, and have sound substrate. Recessed convex curved slide plate covers must be designed to accommodate vertical deck deflection. High-density rubber impact damping base pads must absorb traffic impact loads while accommodating minor deck deflection. A flexible fabric reinforced puncture resistant, continuous rubber gutter shall work in conjunction with the rubber impact pads to enhance the systems waterproofing attributes.

- Related Work

- Section 03300 - Cast-in-place concrete

- Section 05500 - Miscellaneous metal / expansion joints

- Section 07600 - Flashing and sheet metal

- Section 07900 - Sealants, caulking and waterproofing

  - Submittals

- General – Submit the following according to Division 1 Specification Section.

- Standard Drawings – Submit typical expansion joint drawings indicating pertinent dimensions, general construction, structural joint opening dimensions and product information.

  - Product Delivery, Storage and Handling

- Deliver products to site in Manufacturer’s original, intact, labeled containers and store under cover in a dry location until installed.  Store off the ground in temperatures above 40ºF, protect from weather and construction activities.

  - Basis of Design

- All joints shall be designed to meet the specified performance criteria of the project as manufactured by MM Systems, 50 MM Way, Pendergrass, GA, 30567 Phone 800.241.3460 / Fax 706.824.7501 / Web  www.mm.systems

- Alternate manufacturers will not be considered for this project due to insufficient product evaluation time. Submit for future evaluation, products that meet the design criteria and exhibit performance features that are equal to or superior to those called for in the base product specification. Submittal of alternates must be made two weeks prior to bid opening on future projects to allow proper evaluation time. Alternate products not adhering to all listed design features will not be considered. Final decision will be at the sole discretion of the architect or consulting engineer.

- Submit verifiable list of prior installations, along with owner contact information, showing successful project experience incorporating a recessed impact damping expansion joint system that includes rubber impact shock pad technology with integral rubber gutter.

## Quality Assurance

- Pre-construction – the General Contractor, Engineer/Architect, Concrete Subcontractor, Manufacturer’s Representative and Certified Contractor, will conduct a pre-construction meeting to discuss blockout construction, joint gap settings and construction phasing. This meeting shall be held prior to any concrete placement at the expansion joints and may be held in conjunction with the concrete pre-pour meeting.

- Joint Opening Adjustment – the Project Engineer shall provide calculations to the concrete subcontractor to adjust the nominal joint opening the day of the concrete placement through the use of a “temperature adjustment table” with expansion joint openings calculated in five (5ºF) degree increments based on a temperature range of [adjust for project] -20ºF to 120ºF. Some expansion joints can not be installed until the structure has undergone its anticipated short-term shortening and creeping – check with the manufacturer.

- Expansion Joint Surface Areas – two feet on each side of joint gap shall be finished and graded perpendicular to joint gap creating flush slab-to-slab transition.  Elevations on each side of the joint opening shall be identical.

- Bedding Compound – elastomeric bedding compound is recommended to compensate for slight elevation changes along the length of the expansion joint.

- Pre-installation Inspection – the General Contractor, Engineer/Architect, Manufacturer’s Representative and Certified Contractor, will conduct a pre-installation project site inspection. The General Contractor shall provide a field report that summarizes the project conditions and any remedial action necessary to correct field conditions (substrate, joint size, vertical offsets, etc.) that may affect expansion joint system performance.

- Service Condition - ensure that anticipated service conditions (loads, speed of traffic, movement, vertical offsets, turning lanes, etc) are part of the expansion joint system selection criteria.

- Certification / Installation – a factory trained, and “certified” contractor shall install the specified expansion joint system. The contractor shall provide proof of certification from manufacturer and proof of participation in manufacturer’s continuing education program.

- Warranty – the Manufacturer and Certified Contractor jointly warrant to the Owner that the expansion joint system shall be free from manufacturing, material and installation defects for a period of two (2) years from the date of installation, based on specified movements and design conditions for normal traffic use as recommended by the National Parking Association’s “Parking Facility Maintenance Manual” and subject to the terms and conditions of the manufacturer’s standard written limited warranty. No liability or responsibility is accepted due to defects in the concrete.

## PART 2 – PRODUCT

  - General

- Provide heavy-duty recessed expansion joint sealing system that meets the specified movement requirements and is capable of accommodating vehicular and pedestrian traffic.

- System shall consist of surface mounted aluminum base frame with integral fabric reinforced flexible rubber gutter system. System shall be capable of accommodating vertical offsets in opposing concrete decks and lateral shear movement through its aluminum hinge design. Seismic safety cover plate shall incorporate a waterstop that provides impact resistance and sound dampening.

- Furnish approved Impact Damping Expansion Joint Systems [AID] [GID] [SID]  as manufactured by MM Systems.

- Select the system size at each joint location based on the movement and design requirements that meet the project specification or as defined by the structural engineer of record.

- Certified Installation Contractor must provide written confirmation utilizing manufacturer’s product data that the model and size selected will comply with and accommodate expansion, contraction, vertical displacement and lateral shear throughout the full movement cycle.

  - Components and Materials

  - [Aluminum] [Galvanized] [Stainless]   Slide Plate Covers - capable of AASHTO HS-20 load carrying capability and provide ADA Compliant Safe Walking Surface. Provide [Convex Curved] [Flat] covers as shown in the contract drawings.

  - EPDM Rubber Impact Damping Pad – 0.375-inch (10mm) thickness from ethylene propylene diene monomer rubber that provides vehicular load impact damping and sound deadening capability.

    - Rubber Gutter – continuous fabric reinforced 60-mil EPDM rubber attached to concrete with Microsealant Waterproofing Tape. Provide flexible down spout and drain tubes as required.

    - Accessories – provide manufacturers assembly hardware required for complete installation.

    - Polyurethane Bedding Compound and Edge Void Sealant – provide manufacturers polyurethane sealant to seal and adhere rubber pads to concrete substrate and to fill edge voids on the sides of the expansion joint system.

  - Life Safety – Fire Barrier Systems (as required)

- Approved PyroFlex( Fire Barrier Systems (PF Series), as manufactured by MM Systems - Supply fire-resistive barrier systems that have ratings equal to or greater than the rating of adjacent construction when tested in accordance with ASTM E1966 and ASTM E119. Provide specified (2, 3 or 4 hour) rated fire barrier expansion joint assembly.

- Fire Barrier System shall be capable of anticipated movement and maintain fire rating through precondition cycling and fire performance testing in accordance with ASTM E1966. System shall have factory and field splices tested in accordance with ASTM E1966.  Manufacturer shall provide field-splicing instructions.

- Fire Barrier System shall have been tested in accordance with ASTM E1966 and accredited by an independent laboratory with a maximum joint opening as defined by ASTM E1399 which meets or exceeds the maximum joint opening required by the project design requirements.

  - Fabrication

- Metal Cover Plates – shall be shipped in standard lengths and shall be cut to length at jobsite where required. All profiles shall be miter cut in the field to conform to directional changes unless otherwise contracted with expansion joint manufacturer.

- Rubber Gutter – shall be shipped in the longest practical continuous length in manufacturer’s standard shipping carton.

- Polyurethane Bedding Compound – Ship in manufacturer’s approved containers.

- Polyurethane Edge Void Sealant – Ship in manufacturer’s approved containers.

- Wall Mount (slab-to-wall conditions) – aluminum mounting frame extrusions shall be shipped in standard 10 ft. lengths and shall be cut to length on jobsite where required.

- Fire Barriers (as required) – Ship manufacturer’s standard assembly for the required hourly rating with ends prepared for field splicing.  Assemblies shall be miter cut in the field to accommodate changes in direction.

  - Finishes

- Slide Plate Covers - top surface of [Aluminum] [Galvanized] [Stainless] cover plates shall have slip-resistant raised diamond pattern profile and standard mill finish.

## PART 3 – EXECUTION

  - Installation

- Preparation of the Work Area

- The concrete contractor shall provide properly formed concrete expansion joint blockouts (pockets) constructed to the exact dimensions and elevations shown on manufacturer’s standard system drawings or as shown on the contract drawings.  Any area in need of repair shall utilize structural concrete repair materials with written approval from the engineer of record and repair material manufacturer.

- The concrete contractor shall provide joint opening sidewall interfaces that run parallel to each other for the entire length of the joint.  Sidewalls shall be plumb, and interfaces must be continuously equidistant from each other across the joint width to accommodate the proper installation of the expansion joint system.

- Any concrete substrate adjacent to the expansion joint opening in need of repair shall utilize structural concrete repair materials as described above.

- Surface areas two feet on each side of the expansion joint opening shall be finish graded perpendicular to joint opening creating flush slab-to-slab transition.  Elevations on each side shall be identical.

- Install expansion joint system in strict accordance with the manufacturer's typical details and instructions along with the advice of their qualified representative. Refer to Manufacturers Installation Guide for detailed step-by-step installation instructions.

- Polyurethane Bedding Compound and Edge Void Sealant

- The contractor shall clean the concrete surface where the rubber impact base pads are attached. Remove all concrete contaminants by abrasive blasting immediately prior to installation of expansion joint system.  Concrete form release agents, water repellents, laitance, surface dirt, rust, old sealants and other surface treatments and protective coatings must be removed from the concrete surface in order to obtain the proper bedding compound bond.

- Areas adjacent to the joint must be masked with tape to assure neat, clean joint lines.  (Remove tape after installation of joint systems and edge void sealant)

- Follow Polyurethane Manufacturers Installation Instructions for detailed mixing and application of polyurethane bedding compound and edge void sealant.

- Do not install elastomeric bedding compound until the concrete has been air-dried at temperatures at or above 45 degrees Fahrenheit.

  - Clean and Protect

- Protect the system and its components during construction.  Heavy construction vehicles will not be permitted to cross the expansion joint. Subsequent damage to the expansion joint system will be repaired at the general contractor’s expense. After work is complete, clean exposed surfaces with a suitable cleaner that will not harm or attack the finish.

END OF SECTION