SPECIFICATION

Sections 07 90 00 / 07 95 00

(Formerly sections 05810 / 07102 / 07915)

Rubber Safety Cover System

###### RSC Series - Traffic Bearing Expansion Joint

# PART 1 – GENERAL

  - Work Included

- The work shall consist of furnishing and installing a rubber safety cover expansion joint in high pedestrian traffic areas that can accommodate vertical deflection in opposing concrete decks. The safety cover shall incorporate two mechanical hinges with integral rubber nosing pads that flex independently in response to changes in vertical displacement or lateral shear movement. An integral rubber-damping strip located on the underside of the cover provides impact resistance and sound damping. The rubber safety cover shall comply with ADA Guidelines.

- Related Work

- Section 03300 - Cast-in-place concrete

- Section 05500 - Miscellaneous metal / expansion joints

- Section 07600 - Flashing and sheet metal

- Section 07900 - Sealants, caulking and waterproofing

  - Submittals

- General – Submit the following according to Division 1 Specification Section.

- Standard Drawings – Submit typical expansion joint drawings indicating pertinent dimensions, general construction, blockout dimensions and product information.

  - Product Delivery, Storage and Handling

- Deliver products to site in Manufacturer’s original, intact, labeled containers and store under cover in a dry location until installed.  Store off the ground and protect from weather and construction activities.

  - Basis of Design

- All joints shall be designed to meet the specified performance criteria of the project as manufactured by MM Systems Corp., 50 MM Way, Pendergrass, GA, 30567 / Tel 866.506.6929 / Fax 706.824.7501 / Web  www.mm-usa.com

- Alternate manufacturers will not be considered for this project due to insufficient product evaluation time. Submit for future evaluation, products that meet the design criteria and exhibit performance features that are equal to or superior to those called for in the base product specification. Submittal of alternates must be made two weeks prior to bid opening on future projects to allow proper evaluation time. Alternate products not adhering to all listed design features will not be considered. Final decision will be at the sole discretion of the architect or consulting engineer.

- Submit verifiable list of prior installations, along with owner contact information, showing successful experience with the proposed systems that must incorporate integral rubber nosing pads that flex independently in response to changes in vertical displacement and rubber dampeners that provide impact, sound and water infiltration resistance.

## Quality Assurance

- Pre-installation Inspection – the General Contractor, Engineer/Architect, Manufacturer’s Representative and Certified Contractor, will conduct a pre-installation project site inspection. The General Contractor shall provide a field report that summarizes the project conditions and any remedial action necessary to correct field conditions (substrate, joint size, vertical offsets, etc.) that may affect expansion joint system performance.

- Service Condition - insure that anticipated service conditions (loads, speed of traffic, movement, vertical offsets, turning lanes, etc) are part of the expansion joint system selection criteria.

- Warranty – the Manufacturer and Certified Contractor jointly warrant to the Owner that the expansion joint system shall be free from manufacturing and material defects for a period of one (1) year from the date of installation, based on specified movements and design conditions for normal traffic use as recommended by the National Parking Association’s “Parking Facility Maintenance Manual” and subject to the terms and conditions of the manufacturer’s standard written limited warranty.

The one (1) year warranty shall be a materials only warranty. Manufacturer will properly repair or replace the defective expansion joint within the term of the warranty. No liability or responsibility is accepted due to defects in the concrete or improper installation.

## PART 2 – PRODUCT

  - General

- Provide expansion joint cover system that meets the specified movement requirements and is capable of accommodating vehicular and pedestrian traffic.

- System shall consist of surface mounted convex shaped aluminum cover with mechanically attached rubber nosing pads. System shall be capable of accommodating vertical offsets in opposing concrete decks and lateral shear movement through its independent flexible hinge design. The underside of seismic safety cover plate shall incorporate high density rubber strips that provide impact resistance and sound damping.

- Furnish approved Rubber Safety Cover System “RSC Series” as manufactured by MM Systems Corporation.

- The model and size selected must comply with and accommodate the required amount of expansion, contraction, vertical displacement and lateral shear throughout the full movement cycle.

  - Components and Materials

  - Aluminum Cover Plate - extruded from aluminum alloy 6005 -T5 with slip-resistant raised pattern surface. Top surface shall provide slip-resistant raised ribbed pattern profile finish and encapsulated slip-resistant rubber strips. Underside of plate shall have continuous encapsulated integral high-density rubber damper that provides impact resistance and sound dampening.

  - Aluminum Wall Plates - extruded from aluminum alloy 6005-T5

    - Rubber Nosing Pads - high-density elastoprene rubber pads with ADA compliant taper that conforms to the concrete deck profile.

    - Accessories - Provide 3/8-inch drop-in anchor system spaced at 12 inches on center. Stagger anchors between the two anchor cavities per the manufacturer’s instructions.

  - Rubber Gutter System (as required)

- Approved Flexible Gutter Systems (FGS Series), as manufactured by MM Systems Corporation - Supply under slab mounted continuous fabric reinforced 60-mil EPDM rubber bellow gutter sealing system that meets the specified movement requirements. Attached to the underside of the expansion joint opening with aluminum mounting plates.  Provide flexible downspout drain tube assemblies as required.

  - Life Safety – Fire Barrier Systems (as required)

- Approved PyroFlex( Fire Barrier Systems (PF or UPF Series), as manufactured by MM Systems Corporation - Supply fire-resistive barrier systems that have ratings equal to or greater than the rating of adjacent construction when tested in accordance with ASTM E1966 and ASTM E119. Provide specified (2, 3 or 4 hour) rated fire barrier expansion joint assembly.

- Fire Barrier System shall be capable of anticipated movement and maintain fire rating through precondition cycling and fire performance testing in accordance with ASTM E1966. System shall have factory and field splices tested in accordance with ASTM E1966.  Manufacturer shall provide field-splicing instructions.

- Fire Barrier System shall have been tested in accordance with ASTM E1966 at a maximum joint opening as defined by ASTM E1399 which meets or exceeds the maximum joint opening required by the project design requirements. System and manufacturer shall be listed with an accredited independent laboratory.

  - Fabrication

- Aluminum / Rubber Cover – shall be shipped in standard 10 ft. lengths and shall be cut to length at jobsite where required. All profiles shall be miter cut in the field to conform to directional changes unless otherwise contracted with expansion joint manufacturer.

- Rubber Expansion Gaskets – shall be used in middle of every drive lane for vehicular rated applications or at wall / column terminations for pedestrian applications.

- Wall Mount (slab-to-wall condition) – aluminum extrusions with rotation flange shall be shipped in standard 10 ft. lengths and shall be cut to length on jobsite where required.

- Rubber Gutter (if required) – shall be shipped in the longest practical continuous length in manufacturer’s standard shipping carton.

- Fire Barriers (if required) – Ship manufacturer’s standard assembly for the required hourly rating with ends prepared for field splicing.  Assemblies shall be miter cut in the field to accommodate changes in direction.

  - Finishes

- Aluminum Cover - top surface of aluminum base frame and hinge plate shall have slip-resistant raised ribbed pattern profile and standard mill finish. Rubber Nosing Pads shall be black in color. Contact manufacturer for custom colors.

## PART 3 – EXECUTION

  - Installation

- Preparation of the Work Area

- Any concrete edge or area adjacent to the expansion joint opening in need of repair shall utilize structural concrete repair materials.

- Expansion Joint System under the Rubber Safety Cover - The contractor shall provide properly formed concrete expansion joint openings constructed to the exact dimensions and elevations shown on manufacturer’s standard system drawings or as shown on the contract drawings.  Any edge or area in need of repair shall utilize structural concrete repair materials that provide a solid and square expansion joint opening. Deviations from these dimensions will not be allowed without the written consent.

- Surface areas two feet on each side of the expansion joint opening shall be finish graded perpendicular to joint opening creating flush slab-to-slab transition.  Elevations on each side shall be identical.

- Install rubber safety cover system in strict accordance with the manufacturer's typical details and instructions along with the advice of their qualified representative. Refer to Manufacturers Installation Guide for detailed step-by-step installation instructions.

  - Clean and Protect

- Protect the system and its components during construction.  Heavy construction vehicles will not be permitted to cross the expansion joint. Subsequent damage to the rubber safety cover system will be repaired at the general contractor’s expense. After work is complete, clean exposed surfaces with a suitable cleaner that will not harm or attack the finish.

END OF SECTION